## reference
timeAttr | location | factor | comment
initial | B3:BT13 | 0.001 | MW->GW
demand | B17:CS17 | 0.001 | MWh->GWh
capacity facts | B21:CS31 | 1 | no comment
vintage heat rate | B35:BI45 | 1 | BTU/kWh->MMBTU/GWh
new heat rate | B49:CS59 | 1 | BTU/kWh->MMBTU/GWh
costAttr
capital cost | B3:CS13 | 1 | $/kW->M$/GW
fixed o and m | B17:CS27 | 1 | $/kW->M$/GW
variable o and m | B31:CS41 | 0.001 | $/MWh->M$/GWh
electricity | B44:CS44 | 0.01 | ¢/kWh->M$/GWh
fuel prices | B48:CS58 | 1e-06 | $/MMBTU->M$/MMBTU
decomission | E62:E72 | 0.001 | $/MW->M$/GW
invrAttr
sevlife | C9:C19 | 1 | yr
carbint | D9:D19 | 0.001 | kgCo2/MMBTU->tCo2/MMBTU
discountr | B21 | 1 | %
heatincr | B22 | 1 | %
loanperiod | B1 | 1 | yr
delayz | B1 | 1 | yr
delayx | B1 | 1 | yr

## timeAttr
Initial Fleet
age | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71
PC | 582 | 0 | 4415 | 5669 | 4941 | 1573 | 1508 | 1467 | 524 | 268 | 524 | 190 | 990 | 559 | 316 | 90 | 0 | 0 | 1344.9 | 2348 | 895 | 133 | 1290.8 | 3360.4 | 1684 | 3043.9 | 1497.2 | 4180.4 | 6580 | 6372 | 10267 | 6317 | 12038 | 9148 | 14504 | 9987 | 11907 | 11500 | 7406 | 11281 | 10623 | 15802 | 10873.5 | 9606 | 9915 | 9008 | 7665.1 | 6688.6 | 3533 | 5353.4 | 3252.2 | 3426.4 | 1777 | 4075 | 2885 | 4387.8 | 3166.9 | 2221.5 | 681 | 4604.1 | 2761 | 1700.3 | 475 | 272.7 | 473.6 | 620.6 | 96.2 | 29.4 | 0 | 66 | 33
NGGT | 0 | 2068 | 2044.7 | 1954.5 | 2110.4 | 2598 | 3169.7 | 2544.4 | 1159.9 | 3053 | 2613.9 | 7667.3 | 17867.4 | 18651.02 | 14206.1 | 4566.5 | 635.1 | 1219.8 | 1761.4 | 3358.9 | 2183.1 | 1109.8 | 1900.5 | 1218.3 | 1598.1 | 1274.5 | 1159.6 | 510.5 | 503.7 | 516.3 | 494.2 | 184.9 | 114 | 660.6 | 253.9 | 413.2 | 305.8 | 185.6 | 1133.3 | 2118.8 | 1177.4 | 1162.2 | 2922 | 2117.7 | 2056.3 | 1294 | 371.7 | 384 | 272.5 | 209.5 | 100.2 | 120.4 | 76.8 | 48.4 | 31.3 | 18 | 38 | 30.9 | 31.4 | 26.8 | 31.5 | 20.9 | 11.7 | 21.1 | 6.2 | 12.1 | 9.1 | 8.7 | 5 | 1.3 | 1.2
NGCC | 0 | 539 | 4555 | 7325 | 4567.7 | 6743.6 | 4390 | 4238 | 7523.2 | 11803 | 17712 | 39002 | 37554.6 | 17775.2 | 11543.6 | 2851.8 | 1125.7 | 2342.7 | 1657.6 | 1956.1 | 5233.5 | 2813 | 2267.4 | 1886.9 | 2989.4 | 1787.9 | 994 | 1439.4 | 396.2 | 666.7 | 50.5 | 0 | 367 | 1132 | 1776.3 | 1470 | 1746 | 5396 | 3973.4 | 5373 | 9426 | 5232 | 4817 | 5227.3 | 4479.9 | 2763.6 | 3724.2 | 5625.4 | 2817.3 | 3215.4 | 1824.4 | 3401.6 | 2452.7 | 2652.3 | 2012 | 2506.7 | 3582 | 1043.5 | 1766.8 | 999.2 | 1484 | 937.2 | 563.4 | 848.2 | 383.4 | 273 | 49.8 | 25 | 0 | 5.6 | 0
PC | 0 | 0 | 6.9 | 24.4 | 139 | 61.6 | 74.7 | 67.7 | 143.1 | 83.1 | 173.6 | 270.9 | 343.5 | 513.4 | 490.1 | 195.4 | 121.4 | 216.2 | 64 | 49.8 | 26.5 | 45 | 156.8 | 118.7 | 119.8 | 329 | 42 | 82.9 | 37.6 | 106 | 10.1 | 104.5 | 172.5 | 607.9 | 131.3 | 149.3 | 1723.4 | 286.5 | 1302.4 | 2074 | 3618.4 | 1752.7 | 2170.3 | 1572.8 | 840.9 | 868.9 | 1435.5 | 390.6 | 254.9 | 177.1 | 72.4 | 231 | 100.4 | 42.2 | 209.7 | 90.6 | 62.6 | 62.5 | 89 | 34.7 | 99.5 | 4.2 | 58.7 | 13.7 | 134.3 | 95 | 51.1 | 132.9 | 19.6 | 5.6 | 0.6
B | 0 | 25.6 | 217.1 | 183.5 | 228.9 | 267.2 | 191.7 | 195.5 | 182.8 | 52.3 | 81.4 | 158.5 | 350.4 | 158.9 | 41.6 | 108 | 57.8 | 136.6 | 239.4 | 1289.7 | 308.1 | 230.3 | 425.5 | 1956.1 | 412.5 | 573.2 | 585.3 | 794.7 | 246.6 | 3319.2 | 1644.3 | 274.2 | 348.8 | 277.5 | 342.2 | 1338 | 1567.6 | 853 | 0 | 390 | 855.3 | 4597 | 417 | 189.6 | 457.7 | 181.7 | 892.4 | 1433.2 | 112 | 466 | 0 | 447.6 | 180 | 70.6 | 0 | 34.8 | 0 | 0 | 86 | 51.6 | 8.5 | 0 | 50 | 20 | 30 | 74.1 | 18 | 35 | 0 | 0 | 0
N | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1123 | 0 | 0 | 1195 | 0 | 0 | 3601.2 | 2432 | 6007 | 7564 | 9398.3 | 8377.001 | 6591 | 2209 | 1125.7 | 4271.9 | 1932 | 883 | 2003 | 5826.8 | 3741 | 6246.2 | 8627.7 | 3970.7 | 5540.1 | 2224 | 2038.9 | 1244 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H | 238 | 59 | 55 | 33.2 | 22.5 | 11.5 | 10.8 | 20 | 20 | 25.8 | 76.2 | 80.8 | 15.5 | 123 | 3.7 | 118.7 | 2.1 | 57.8 | 56.32 | 88.9 | 267.7 | 128.7 | 205.4 | 35.7 | 402.1 | 543.28 | 440.7 | 235.1 | 667.8 | 1242.2 | 519.3 | 699.9 | 601.2 | 271.3 | 1245.3 | 2172.6 | 2310 | 524.3 | 1793.4 | 2161.8 | 567.3 | 1229.2 | 218 | 1226 | 1141.9 | 1916.1 | 2058.3 | 2506.9 | 1510.2 | 1652.7 | 2368.8 | 2978.9 | 2343.9 | 3414.8 | 1622.7 | 1750.5 | 2835.3 | 1503.9 | 1119.9 | 1735.2 | 1284.9 | 1982.3 | 1662.6 | 1398 | 1216.1 | 1287.2 | 811 | 168.4 | 44.7 | 397.9 | 1057.9
W | 0 | 649 | 2371.3 | 7427.806 | 4549.7 | 9747.9 | 8335.2 | 5215.4 | 2606.8 | 2105.8 | 392.7 | 1608.5 | 771.2 | 1403.6 | 56.4 | 681 | 174.3 | 19.3 | 28 | 30 | 135.7 | 4.2 | 6.9 | 77 | 157 | 98.8 | 26.6 | 109.9 | 99.6 | 110.7 | 197.4 | 346.7 | 19.5 | 17.6 | 0 | 0 | 0 | 0 | 0 | 16.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SPV | 125 | 531 | 556.9 | 516.9 | 237 | 79.9 | 30.8 | 29.5 | 1.6 | 1.2 | 0 | 0 | 2.1 | 5.3 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.4 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STH | 464 | 493 | 258 | 0 | 75 | 8.2 | 0 | 64 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88 | 88 | 72 | 36 | 72 | 30 | 13.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G | 0 | 0 | 96 | 9.6 | 12.5 | 171.2 | 25.8 | 28.8 | 39.5 | 15.6 | 0 | 0 | 5.6 | 0 | 60 | 0 | 56 | 0 | 34 | 0 | 0 | 52.2 | 42.9 | 0 | 61 | 252.5 | 234.9 | 47.1 | 50.2 | 269.3 | 139.2 | 191 | 70 | 0 | 156 | 51 | 0 | 0 | 0 | 68 | 0 | 0 | 80 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Generation (MWh)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082 | 2083 | 2084 | 2085 | 2086 | 2087 | 2088 | 2089 | 2090 | 2091 | 2092 | 2093 | 2094 | 2095 | 2096 | 2097 | 2098 | 2099 | 2100 | 2101 | 2102 | 2103 | 2104 | 2105 | 2106 | 2107 | 2108 | 2109 | 2110
Demand | 3953708252 | 3996951660 | 4030870605 | 4085709961 | 4129380859 | 4144062012 | 4158341309 | 4183875977 | 4213923828 | 4249895508 | 4280244141 | 4308261719 | 4337715820 | 4367902832 | 4394346680 | 4419973633 | 4440666992 | 4460267090 | 4484644043 | 4511422363 | 4540406738 | 4572781738 | 4604239258 | 4634368164 | 4659860352 | 4685587402 | 4718386513.814 | 4751415219.4107 | 4784675125.9466 | 4818167851.8282 | 4851895026.791 | 4885858291.9785 | 4920059300.0224 | 4954499715.1225 | 4989181213.1284 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203 | 5024105481.6203
CAPACITY FACTOR
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082 | 2083 | 2084 | 2085 | 2086 | 2087 | 2088 | 2089 | 2090 | 2091 | 2092 | 2093 | 2094 | 2095 | 2096 | 2097 | 2098 | 2099 | 2100 | 2101 | 2102 | 2103 | 2104 | 2105 | 2106 | 2107 | 2108 | 2109 | 2110
PC | 0.63303 | 0.64984 | 0.67614 | 0.68345 | 0.70507 | 0.71749 | 0.72388 | 0.72803 | 0.73145 | 0.73392 | 0.73555 | 0.73478 | 0.7339 | 0.7329 | 0.73186 | 0.73111 | 0.73034 | 0.72941 | 0.72867 | 0.7279 | 0.72733 | 0.7267 | 0.72616 | 0.72541 | 0.72316 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269 | 0.72269
NGGT | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125
NGGC | 0.52799 | 0.55385 | 0.5232 | 0.52893 | 0.5151 | 0.49316 | 0.48319 | 0.47798 | 0.47685 | 0.4786 | 0.47769 | 0.47076 | 0.47344 | 0.47274 | 0.46779 | 0.46798 | 0.46471 | 0.46229 | 0.45842 | 0.4514 | 0.45086 | 0.45017 | 0.44975 | 0.44885 | 0.44834 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456 | 0.44456
PC | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125
B | 0.59033 | 0.59909 | 0.60226 | 0.61332 | 0.62361 | 0.59802 | 0.62351 | 0.60127 | 0.60871 | 0.60127 | 0.61422 | 0.6028 | 0.61408 | 0.6026 | 0.60262 | 0.61035 | 0.60239 | 0.61015 | 0.60214 | 0.60148 | 0.60208 | 0.60535 | 0.6091 | 0.62022 | 0.60567 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093 | 0.6093
N | 0.88772 | 0.89061 | 0.89982 | 0.90766 | 0.90571 | 0.90458 | 0.9078 | 0.90892 | 0.90892 | 0.90892 | 0.90892 | 0.90892 | 0.90892 | 0.90892 | 0.90892 | 0.90892 | 0.90892 | 0.90892 | 0.90892 | 0.90892 | 0.90777 | 0.90649 | 0.90522 | 0.90399 | 0.90399 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283 | 0.90283
H | 0.38785 | 0.39256 | 0.40464 | 0.41903 | 0.41897 | 0.41897 | 0.41909 | 0.4191 | 0.41912 | 0.41946 | 0.41968 | 0.41983 | 0.42006 | 0.42008 | 0.42009 | 0.42008 | 0.4201 | 0.42011 | 0.42021 | 0.42044 | 0.42046 | 0.42048 | 0.42052 | 0.42054 | 0.42056 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058 | 0.42058
W | 0.28959 | 0.31182 | 0.3199 | 0.32066 | 0.32093 | 0.32105 | 0.32109 | 0.32119 | 0.32128 | 0.32133 | 0.3214 | 0.32145 | 0.32151 | 0.32165 | 0.32195 | 0.32194 | 0.32185 | 0.32192 | 0.32188 | 0.322 | 0.32325 | 0.32487 | 0.32633 | 0.32744 | 0.32908 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937 | 0.32937
SPV | 0.21591 | 0.1973 | 0.23525 | 0.23522 | 0.23553 | 0.23555 | 0.23572 | 0.2355 | 0.23545 | 0.23537 | 0.23561 | 0.23604 | 0.23607 | 0.23626 | 0.23698 | 0.237 | 0.23691 | 0.2375 | 0.23773 | 0.23899 | 0.23894 | 0.23929 | 0.23991 | 0.24059 | 0.24177 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245 | 0.24245
STH | 0.18556 | 0.18667 | 0.21034 | 0.23339 | 0.23374 | 0.23374 | 0.23406 | 0.2337 | 0.23376 | 0.23354 | 0.23372 | 0.23393 | 0.23405 | 0.2342 | 0.23417 | 0.23421 | 0.23424 | 0.23416 | 0.23382 | 0.23407 | 0.23389 | 0.23386 | 0.23387 | 0.23378 | 0.23379 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384 | 0.23384
G | 0.72726 | 0.72362 | 0.74406 | 0.75719 | 0.77589 | 0.79231 | 0.80525 | 0.81414 | 0.81997 | 0.82664 | 0.83143 | 0.83528 | 0.84101 | 0.84663 | 0.85042 | 0.85372 | 0.85675 | 0.85952 | 0.8617 | 0.86393 | 0.86591 | 0.867 | 0.86809 | 0.86902 | 0.87011 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069 | 0.87069
Old Plant Heat Rate (Btu/kWh)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
Pulverized Coal (PC) | 9548 | 0 | 8800 | 9683.7139 | 10253.251 | 10369.1055 | 10061.1638 | 9865.0539 | 10571.979 | 10575 | 10784 | 11751.2632 | 10656.1111 | 10273 | 10605.9114 | 14500 | 0 | 0 | 10066.9626 | 9964.6576 | 9930.1151 | 12823.0226 | 10866.6525 | 10435.0521 | 11107.1651 | 10104.8257 | 10101.3301 | 10089.6017 | 10676.4195 | 10435.465 | 10248.8306 | 10715.3834 | 10557.8599 | 10642.0162 | 10283.4101 | 10541.3112 | 10627.5356 | 10381.7451 | 10344.0139 | 10220.6171 | 10049.1255 | 10215.8855 | 10259.4561 | 10141.4816 | 10147.3533 | 10189.2678 | 10470.6277 | 10323.4629 | 10321.1503 | 10399.2098 | 10630.4514 | 10354.0284 | 10602.6041 | 10816.2778 | 10637.887 | 10501.1281 | 10647.4803 | 10934.014 | 10467.3583 | 10430.8091
Natural Gas (NGGT) | 0 | 10134.913 | 10654.5307 | 11313.8478 | 11946.1775 | 11973.6925 | 11168.6227 | 11899.9952 | 11707.2873 | 11146.6388 | 11395.1486 | 11928.6016 | 11737.953 | 11955.3541 | 12211.8516 | 12855.3564 | 12333.2419 | 11629.2161 | 14124.0159 | 13969.5583 | 14216.074 | 13943.7117 | 15656.0252 | 12832.0841 | 12650.8523 | 11753.5112 | 12944.278 | 9351.3489 | 14528.4983 | 8846.244 | 10426.1115 | 13993.3764 | 12880.5719 | 15426.4893 | 14784.579 | 16586.7367 | 17105.4712 | 18760.5975 | 16180.1617 | 13864.9258 | 17498.5511 | 16136.1992 | 16154.3382 | 17590.5144 | 18613.5592 | 17662.298 | 20008.4705 | 18696.725 | 18759.5765 | 17179.5594 | 17374.2036 | 18481.5947 | 17419.194 | 17389.7252 | 12791.6326 | 13369.3722 | 12964.9474 | 15753.7799 | 15317.8567 | 13944.7052
Natural Gas (NGCC) | 0 | 7050 | 7054.6268 | 7155.0696 | 7602.4182 | 7499.0313 | 7742.5244 | 7522.1395 | 7385.9947 | 7406.2835 | 7333.0663 | 7473.8461 | 7576.2471 | 7346.6961 | 7491.4066 | 7898.4911 | 7158.2739 | 7638.9247 | 7583.6775 | 8242.0929 | 8170.8654 | 8460.6891 | 7739.0748 | 8526.0733 | 7993.6925 | 8218.068 | 7379.9209 | 7531.7775 | 10369.2012 | 8117.4138 | 8300 | 0 | 8975.7112 | 9726.4276 | 10680.0712 | 12008.0259 | 11355.6976 | 11407.96 | 11472.0324 | 12057.5282 | 11453.7818 | 12190.3599 | 11470.0365 | 11700.7088 | 11816.7017 | 10834.7514 | 11492.8688 | 11242.9408 | 11280.2972 | 11473.7196 | 12132.6594 | 11168.1617 | 11432.7574 | 11592.4771 | 12313.2127 | 12005.922 | 11668.8076 | 12437.5285 | 11961.5537 | 12143.2206
Petroleum (P) | 0 | 0 | 9750 | 10971.6803 | 17089.9281 | 14129.125 | 14422.4926 | 15067.0236 | 14872.1181 | 14472.6258 | 12535.4101 | 13033.6574 | 12557.7316 | 13396.0565 | 13214.3624 | 13159.0635 | 11937.36 | 13022.5976 | 12686.6688 | 13203.0321 | 13347.0453 | 12050.4222 | 14340.9758 | 17754.4473 | 19706.4708 | 14678.3973 | 13021.7905 | 7965.316 | 16991.5638 | 9751.5547 | 15020.7426 | 12345.2498 | 14307.4551 | 11355.3265 | 18144.834 | 18808.2096 | 15002.6336 | 20432.896 | 14377.2932 | 13710.5487 | 13893.8777 | 16183.3993 | 18104.3639 | 16423.9842 | 17656.1767 | 17714.9827 | 15210.0817 | 15175.6895 | 18023.5394 | 13618.8029 | 16396.0746 | 12683.5074 | 14426.7928 | 15662.5332 | 11908.6471 | 14654.7152 | 14794.5623 | 14357.3808 | 7095.9933 | 14085.2767
Biomass (B) | 0 | 13500 | 13500 | 13918.4567 | 15641.3084 | 13662.5516 | 14996.4909 | 13871.3013 | 12743.2511 | 14762.2887 | 12343.7985 | 12878.3009 | 858.2192 | 11166.141 | 13351.1418 | 11463.6991 | 14071.936 | 9599.8272 | 14487.7193 | 2689.2851 | 18460.1597 | 11799.6852 | 12773.2799 | 5124.5017 | 15839.0865 | 16743.2664 | 16213.6409 | 12233.397 | 14501.9611 | 1357.913 | 2249.977 | 6712.8891 | 5003.4753 | 8615.5643 | 1366.8007 | 193.7556 | 443.9057 | 260.2579 | 0 | 0 | 90.8913 | 0 | 0 | 102.557 | 215.6384 | 5470.5674 | 616.0314 | 0 | 2022.3571 | 0 | 0 | 86.2726 | 0 | 2560.3654 | 0 | 21333.8793 | 0 | 0 | 0 | 7971
Nuclear (N) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10460 | 0 | 0 | 10460 | 0 | 0 | 10460 | 10460 | 10460 | 10460 | 10460 | 10460 | 10448.7947 | 10460 | 10460 | 10460 | 10460 | 10460 | 10460 | 10460 | 10460 | 10460 | 10455.4637 | 10453.0355 | 10455.0084 | 10460 | 10460 | 10460 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric (H) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
On-shore wind (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar PV (SPV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar Thermal (STH) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Geothermal (G) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Plant Heat Rate (Btu/kWh)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082 | 2083 | 2084 | 2085 | 2086 | 2087 | 2088 | 2089 | 2090 | 2091 | 2092 | 2093 | 2094 | 2095 | 2096 | 2097 | 2098 | 2099 | 2100 | 2101 | 2102 | 2103 | 2104 | 2105 | 2106 | 2107 | 2108 | 2109 | 2110
Pulverized Coal (PC) | 9370 | 9370 | 9370 | 9370 | 9370 | 9370 | 9370 | 9370 | 9370 | 9370 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000
Natural Gas (NGGT) | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390 | 10390
Natural Gas (NGCC) | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705 | 6705
Petroleum (P) | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713 | 10713
Biomass (B) | 14200 | 14200 | 14200 | 14200 | 14200 | 14000 | 14000 | 14000 | 14000 | 14000 | 13800 | 13800 | 13800 | 13800 | 13800 | 13500 | 13500 | 13500 | 13500 | 13500 | 13200 | 13200 | 13200 | 13200 | 13200 | 13000 | 13000 | 13000 | 13000 | 13000 | 12800 | 12800 | 12800 | 12800 | 12800 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500 | 12500
Nuclear (N) | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720 | 9720
Hydroelectric (H) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
On-shore wind (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar PV (SPV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar Thermal (STH) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Geothermal (G) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## costAttr
CAPITAL COST ($/kW)
YEAR | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082 | 2083 | 2084 | 2085 | 2086 | 2087 | 2088 | 2089 | 2090 | 2091 | 2092 | 2093 | 2094 | 2095 | 2096 | 2097 | 2098 | 2099 | 2100 | 2101 | 2102 | 2103 | 2104 | 2105 | 2106 | 2107 | 2108 | 2109 | 2110
Pulverized Coal | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890 | 2890
Natural Gas (GT) | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651
Natural Gas (CC) | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230 | 1230
Petroleum | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651 | 651
Biomass | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830 | 3830
Nuclear | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100 | 6100
Hydroelectric | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500
On-shore wind | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980 | 1980
Solar PV | 2620 | 2620 | 2620 | 2620 | 2620 | 2510 | 2510 | 2510 | 2510 | 2510 | 2410 | 2410 | 2410 | 2410 | 2410 | 2310 | 2310 | 2310 | 2310 | 2310 | 2230 | 2230 | 2230 | 2230 | 2230 | 2160 | 2160 | 2160 | 2160 | 2160 | 2090 | 2090 | 2090 | 2090 | 2090 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030
Solar Thermal | 4720 | 4720 | 4720 | 4720 | 4720 | 4540 | 4540 | 4540 | 4540 | 4540 | 4350 | 4350 | 4350 | 4350 | 4350 | 4170 | 4170 | 4170 | 4170 | 4170 | 3987 | 3987 | 3987 | 3987 | 3987 | 3800 | 3800 | 3800 | 3800 | 3800 | 3620 | 3620 | 3620 | 3620 | 3620 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430 | 3430
Geothermal | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940 | 5940
Fixed O and M ($/kWyr)
AGE | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082 | 2083 | 2084 | 2085 | 2086 | 2087 | 2088 | 2089 | 2090 | 2091 | 2092 | 2093 | 2094 | 2095 | 2096 | 2097 | 2098 | 2099 | 2100 | 2101 | 2102 | 2103 | 2104 | 2105 | 2106 | 2107 | 2108 | 2109 | 2110
PC | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23
NGGT | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26
NGGC | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31 | 6.31
PC | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26 | 5.26
B | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95
N | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127 | 127
H | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
W | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
SPV | 48 | 48 | 48 | 48 | 48 | 45 | 45 | 45 | 45 | 45 | 43 | 43 | 43 | 43 | 43 | 41 | 41 | 41 | 41 | 41 | 39 | 39 | 39 | 39 | 39 | 37 | 37 | 37 | 37 | 37 | 35 | 35 | 35 | 35 | 35 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33
STH | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable O and M ($/MWh)
AGE | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082 | 2083 | 2084 | 2085 | 2086 | 2087 | 2088 | 2089 | 2090 | 2091 | 2092 | 2093 | 2094 | 2095 | 2096 | 2097 | 2098 | 2099 | 2100 | 2101 | 2102 | 2103 | 2104 | 2105 | 2106 | 2107 | 2108 | 2109 | 2110
PC | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71
NGGT | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9
NGGC | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67 | 3.67
PC | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9 | 29.9
B | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
N | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04 | 2.04
H | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SPV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31
Electricity Wholesale |  | ¢/kWh
| 6.7042 | 6.8765 | 6.9585 | 6.9923 | 7.1914 | 7.4927 | 7.7806 | 7.9707 | 8.1891 | 8.3134 | 8.5632 | 8.7378 | 8.9205 | 9.0869 | 9.1856 | 9.3325 | 9.5021 | 9.7464 | 9.9939 | 10.2298 | 10.4798 | 10.735 | 11.0274 | 11.4048 | 11.8306 | 12.2838 | 12.5663 | 12.8554 | 13.151 | 13.4535 | 13.7629 | 14.0795 | 14.4033 | 14.7346 | 15.0735 | 15.4202 | 15.7748 | 16.1377 | 16.5088 | 16.8885 | 17.277 | 17.6743 | 18.0808 | 18.4967 | 18.9221 | 19.3573 | 19.8025 | 20.258 | 20.7239 | 21.2006 | 21.6882 | 22.187 | 22.6973 | 23.2194 | 23.7534 | 24.2998 | 24.8586 | 25.4304 | 26.0153 | 26.6136 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258 | 27.2258
Fuel Prices ($/mmBtu)
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082 | 2083 | 2084 | 2085 | 2086 | 2087 | 2088 | 2089 | 2090 | 2091 | 2092 | 2093 | 2094 | 2095 | 2096 | 2097 | 2098 | 2099 | 2100 | 2101 | 2102 | 2103 | 2104 | 2105 | 2106 | 2107 | 2108 | 2109 | 2110
Pulverized Coal (PC) | 3.4246 | 3.6687 | 3.7433 | 3.7983 | 3.861 | 3.9206 | 4.0008 | 4.0705 | 4.1412 | 4.2161 | 4.2905 | 4.3713 | 4.4611 | 4.5614 | 4.6612 | 4.7535 | 4.8524 | 4.9632 | 5.0864 | 5.2067 | 5.3179 | 5.4474 | 5.5543 | 5.7006 | 5.8302 | 5.9938 | 6.1257 | 6.2604 | 6.3982 | 6.5389 | 6.6828 | 6.8298 | 6.9801 | 7.1336 | 7.2906 | 7.4509 | 7.6149 | 7.7824 | 7.9536 | 8.1286 | 8.3074 | 8.4902 | 8.677 | 8.8679 | 9.0629 | 9.2623 | 9.4661 | 9.6744 | 9.8872 | 10.1047 | 10.327 | 10.5542 | 10.7864 | 11.0237 | 11.2662 | 11.5141 | 11.7674 | 12.0263 | 12.2908 | 12.5612 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376 | 12.8376
Natural Gas (NGGT) | 10.5834 | 10.8608 | 11.1321 | 11.2943 | 11.5322 | 11.8288 | 12.2593 | 12.6932 | 13.2291 | 13.7523 | 14.2151 | 14.5829 | 14.8525 | 15.2298 | 15.5518 | 16 | 16.5247 | 17.0364 | 17.4589 | 17.8614 | 18.296 | 18.7239 | 19.2451 | 19.8718 | 20.5916 | 21.2689 | 21.7581 | 22.2585 | 22.7704 | 23.2942 | 23.8299 | 24.378 | 24.9387 | 25.5123 | 26.0991 | 26.6994 | 27.3134 | 27.9416 | 28.5843 | 29.2417 | 29.9143 | 30.6023 | 31.3062 | 32.0262 | 32.7628 | 33.5164 | 34.2873 | 35.0759 | 35.8826 | 36.7079 | 37.5522 | 38.4159 | 39.2994 | 40.2033 | 41.128 | 42.074 | 43.0417 | 44.0316 | 45.0443 | 46.0804 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402
Natural Gas (NGCC) | 10.5834 | 10.8608 | 11.1321 | 11.2943 | 11.5322 | 11.8288 | 12.2593 | 12.6932 | 13.2291 | 13.7523 | 14.2151 | 14.5829 | 14.8525 | 15.2298 | 15.5518 | 16 | 16.5247 | 17.0364 | 17.4589 | 17.8614 | 18.296 | 18.7239 | 19.2451 | 19.8718 | 20.5916 | 21.2689 | 21.7581 | 22.2585 | 22.7704 | 23.2942 | 23.8299 | 24.378 | 24.9387 | 25.5123 | 26.0991 | 26.6994 | 27.3134 | 27.9416 | 28.5843 | 29.2417 | 29.9143 | 30.6023 | 31.3062 | 32.0262 | 32.7628 | 33.5164 | 34.2873 | 35.0759 | 35.8826 | 36.7079 | 37.5522 | 38.4159 | 39.2994 | 40.2033 | 41.128 | 42.074 | 43.0417 | 44.0316 | 45.0443 | 46.0804 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402 | 47.1402
Petroleum (P) | 2.4124 | 2.3776 | 2.4015 | 2.4438 | 2.4891 | 2.5511 | 2.5984 | 2.6411 | 2.6855 | 2.728 | 2.7629 | 2.801 | 2.8396 | 2.8813 | 2.9141 | 2.9564 | 2.9856 | 3.0167 | 3.0477 | 3.0821 | 3.1195 | 3.1589 | 3.1997 | 3.2355 | 3.2721 | 3.3024 | 3.3453 | 3.3888 | 3.4329 | 3.4775 | 3.5227 | 3.5685 | 3.6149 | 3.6619 | 3.7095 | 3.7577 | 3.8066 | 3.8561 | 3.9062 | 3.957 | 4.0084 | 4.0605 | 4.1133 | 4.1668 | 4.2209 | 4.2758 | 4.3314 | 4.3877 | 4.4447 | 4.5025 | 4.5611 | 4.6204 | 4.6804 | 4.7413 | 4.8029 | 4.8653 | 4.9286 | 4.9927 | 5.0576 | 5.1233 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899 | 5.1899
Biomass (B) | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
Nuclear (N) | 3.3986 | 3.3476 | 3.6251 | 3.9359 | 4.2158 | 4.6083 | 5.0473 | 5.4071 | 6.0226 | 6.3933 | 6.7002 | 7.0569 | 7.2022 | 7.2777 | 7.5892 | 7.894 | 8.2995 | 8.5125 | 8.5118 | 8.6779 | 8.8058 | 9.027 | 9.3014 | 9.791 | 10.3522 | 10.6311 | 11.0563 | 11.4986 | 11.9585 | 12.4369 | 12.9343 | 13.4517 | 13.9898 | 14.5494 | 15.1313 | 15.7366 | 16.3661 | 17.0207 | 17.7015 | 18.4096 | 19.146 | 19.9118 | 20.7083 | 21.5366 | 22.3981 | 23.294 | 24.2258 | 25.1948 | 26.2026 | 27.2507 | 28.3407 | 29.4743 | 30.6533 | 31.8795 | 33.1546 | 34.4808 | 35.8601 | 37.2945 | 38.7862 | 40.3377 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512 | 41.9512
Hydroelectric (H) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
On-shore wind (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar PV (SPV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar Thermal (STH) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Geothermal (G) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Plant General Characteristics
| Size (kW) | Size (MW) |  | Decomission cost $/MW
Pulverized Coal | 606000 | 606 | 6060000 | 10000
Natural Gas (GT) | 211000 | 211 | 6060000 | 28720.3791
Natural Gas (CC) | 580000 | 580 | 6060000 | 10448.2759
Petroleum | 85000 | 85 | 6060000 | 71294.1176
Biomass | 50000 | 50 | 6060000 | 121200
Nuclear | 1125000 | 1125 | 300000000 | 266666.6667
Hydroelectric | 500000 | 500 | 8000000 | 16000
On-shore wind | 100000 | 100 | 5593333.3333 | 55933.3333
Solar PV | 100000 | 100 | 440000 | 4400
Solar Thermal | 200000 | 200 | 440000 | 2200
Geothermal | 50000 | 50 | 6060000 | 121200

## invrAttr
Loan term | 20 | years
Risk | 3%
Return on Equity/Investment | 12%
Tax | 5%
Total interest rate | 20%
Interest rate annuity factor | 0.20536 | (to be multiplied by the total capital cost to get annuity)
| Size (MW) | Service Life (years) | Carbon Intensity (kg CO2/mmBtu) | Lower Bound on Capital Costs | Upper Bound on Capital Costs
Pulverized Coal | 606 | 60 | 97.5224 | 0% | 35%
Natural Gas (GT) | 211 | 40 | 53.0703 | -25% | 25%
Natural Gas (CC) | 580 | 60 | 53.0703 | 0% | 25%
Petroleum | 85 | 40 | 73.1644 | -25% | 25%
Biomass | 50 | 30 | 24.494 | -25% | 50%
Nuclear | 1125 | 60 | 0 | -10% | 30%
Hydroelectric | 500 | 60 | 0 | 0% | 35%
On-shore wind | 100 | 30 | 0 | 0% | 25%
Solar PV | 100 | 30 | 0 | 0% | 0%
Solar Thermal | 200 | 30 | 0 | -35% | 15%
Geothermal | 50 | 40 | 0 | 0% | 0%
discount rate | 0.07
heat rate increase | 0.001
loan period | 20

## paramList
NAME | DIMENSIONS | SOURCE | RESPONSIBLE | DESCRIPTION | W | X | Z
wFixCost | (TECH, TIME) | ATB | DAVID | FIXED COST OF O&M OF EXISTING | (EXISTING) | (NEW) | (RETROFIT)
wVarCost | (TECH, TIME) | ATB | DAVID | VAR. COST OF O&M (EXISTING)
xCapCost | (TECH, TIME) | ATB | DAVID | CAP. COST (NEW)
xFixCost | (TECH, TIME) | ATB | DAVID | FIXED COST OF O&M OF (NEW)
xVarCost | (TECH, TIME) | ATB | DAVID | VAR. COST OF O&M (NEW)
zCapCost | (TECH, TIME) | ATB | DAVID | CAP. COST (NEW)
zFixCost | (TECH, TIME) | ATB | DAVID | FIXED COST OF O&M OF (NEW)
zVarCost | (TECH, TIME) | ATB | DAVID | VAR. COST OF O&M (NEW)
decomC | (TECH)
wfuelCost | (TECH,TIME) | NEEDS | SARANG
xfuelCost | (TECH,TIME) | NEEDS | SARANG
zfuelCost | (TECH,TIME) | NEEDS | SARANG
carbonInt | (TECH,TIME) | EPA | SARANG
wHeatRate | (TECH,TIME) | eGRID | SARANG | HEAT RATE(EXISTING)
xHeatRate | (TECH,TIME) | ATB | SARANG | HEAT RATE(NEW)
saleLost | (TIME) |  | DAVID | (PRICE OF ELECTRICITY)
SCENARIOS
HOW WE WANT TO DEFINE SCENARIOS?