## reference
timeAttr | location | factor | comment | Note about this sheet:
initial | B3:DW13 | 0.001 | MW->GW | -Introduced the factor for generation
demand | B17:CS17 | 1e-06 | MWh->TWh | -OCT11 updated some of the costs of new plants
capacity facts | B21:CA31 | 1 | no comment | -OC30 updated plant delta eta
vintage heat rate | B34:DW44 | 1000000 | MMBTU/MWh->MMBTU/TWh | -NOV9 this one removes the retrofits for P and B, because of lack of data
new heat rate | B48:AF58 | 1000000 | MMBTU/MWh->MMBTU/TWh
costAttr
capital cost | B3:AF13 | 1 | $/kW->M$/GW
fixed o and m | B17:AF27 | 1 | $/kW->M$/GW
variable o and m | B31:AF41 | 1 | $/MWh->M$/TWh
electricity | B44:AF44 | 10 | ¢/kWh->M$/TWh
fuel prices | B48:AF58 | 1e-06 | $/MMBTU->M$/MMBTU
decomission | E62:E72 | 0.001 | $/MW->M$/GW
invrAttr
ntechs | B2
horizon | B3 |  | year
sevlife | C11:C21 | 1 | yr
carbint | D11:D21 | 1e-09 | kgCo2/MMBTU->MtCo2/MMBTU
discountr | B23 | 1 | %
heatincr | B24 | 1 | %
loanperiod | B25 | 1 | yr
kind_z | G11:G21 | 1
kind_x | H11:H21 | 1
fuel based | I11:I21 | 1
co2 based | J11:J21 | 1
base load | K11:K21
ninput | L11:L21
rFmat9999 | C29:T47
nCmat9999 | C51:T75
misc
genScale | 0.001 | GWh->TWh
hr to eff | 2.9307e-07

## timeAttr
Initial Fleet
GENYRONL | 2020 | 2019 | 2018 | 2017 | 2016 | 2015 | 2014 | 2013 | 2012 | 2011 | 2010 | 2009 | 2008 | 2007 | 2006 | 2005 | 2004 | 2003 | 2002 | 2001 | 2000 | 1999 | 1998 | 1997 | 1996 | 1995 | 1994 | 1993 | 1992 | 1991 | 1990 | 1989 | 1988 | 1987 | 1986 | 1985 | 1984 | 1983 | 1982 | 1981 | 1980 | 1979 | 1978 | 1977 | 1976 | 1975 | 1974 | 1973 | 1972 | 1971 | 1970 | 1969 | 1968 | 1967 | 1966 | 1965 | 1964 | 1963 | 1962 | 1961 | 1960 | 1959 | 1958 | 1957 | 1956 | 1955 | 1954 | 1953 | 1952 | 1951 | 1950 | 1949 | 1948 | 1947 | 1946 | 1945 | 1944 | 1943 | 1942 | 1941 | 1940 | 1939 | 1938 | 1937 | 1936 | 1935 | 1934 | 1933 | 1932 | 1931 | 1930 | 1929 | 1928 | 1927 | 1926 | 1925 | 1924 | 1923 | 1922 | 1921 | 1920 | 1919 | 1918 | 1917 | 1916 | 1915 | 1914 | 1913 | 1912 | 1911 | 1910 | 1909 | 1908 | 1907 | 1906 | 1905 | 1904 | 1903 | 1902 | 1901 | 1900 | 1899 | 1898 | 1896 | 1893 | 1891
PC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1812.5 | 3952.5 | 4253.1 | 5187.9 | 1755.6 | 1584 | 1513.5 | 573.8 | 329.4 | 0 | 90 | 0 | 513.7 | 18 | 229 | 62 | 14.6 | 1339.7 | 1104.9 | 527.3 | 0 | 769 | 2990.8 | 1607.5 | 2901.5 | 460 | 3114.2 | 5657.3 | 5793.2 | 10964.9 | 5829 | 10208.1 | 8979.7 | 12597.9 | 9606.9 | 8927.4 | 10547.8 | 5444.4 | 8993.5 | 8507.5 | 14158.8 | 7886.6 | 8993.8 | 7513 | 7186.5 | 5719.9 | 6248 | 2477.4 | 2206.9 | 1299.6 | 1122.4 | 734.1 | 2063 | 672.2 | 2069.1 | 1557.9 | 692.9 | 517.3 | 3937.6 | 1962.8 | 1047.8 | 57.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CT | 1230.4 | 1902 | 2415.7 | 1280.5 | 3716.4 | 1794 | 759.6 | 3627.8 | 2434.1 | 2127.7 | 2095.9 | 2884.8 | 3586.8 | 2170.3 | 1334.5 | 3502.2 | 2909.5 | 8825.8 | 20363.5 | 21964.2 | 14803.6 | 5308.6 | 708.5 | 937.4 | 1707.7 | 4075.3 | 2726.8 | 1174.6 | 1789.6 | 956.6 | 1572.5 | 954.6 | 1113.9 | 349.7 | 324.3 | 307.6 | 104.9 | 111.3 | 44.9 | 707.2 | 235.6 | 567 | 713 | 174.8 | 1187 | 2476.4 | 1016.2 | 1261.7 | 2394.4 | 1635.9 | 1163 | 388.3 | 220.4 | 234.5 | 214.2 | 120.3 | 20.6 | 56.2 | 11.6 | 18 | 11.6 | 5 | 13.3 | 16.7 | 5.1 | 15.2 | 6.8 | 1.2 | 2.8 | 6.1 | 2 | 2.2 | 1.7 | 3.9 | 1.1 | 0 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CC | 5740.6 | 5903.5 | 16527.1 | 9171.4 | 3630.9 | 5068 | 8515.3 | 3685.4 | 7669.3 | 8485.3 | 4758.7 | 7083.1 | 5132.1 | 4984.4 | 8749.4 | 12640.7 | 18928.9 | 42505.7 | 39688 | 17748 | 12185.6 | 1520.1 | 1299.6 | 1817.5 | 2320.2 | 2394.5 | 5642.1 | 2007.3 | 2555.1 | 2119.4 | 2430.5 | 1682.9 | 331.9 | 1208 | 371.8 | 272.7 | 0 | 0 | 789.8 | 914 | 135.3 | 1843.2 | 1741.6 | 5133.2 | 3244.8 | 6215.8 | 9292.3 | 4917.3 | 3995.2 | 4142.6 | 4502.2 | 3965.2 | 2819.1 | 3582 | 2779.7 | 3883.1 | 1335.8 | 2592 | 1716.9 | 1989.8 | 1707.5 | 2007.3 | 3820.4 | 882.4 | 651.5 | 531.6 | 1683.7 | 565.2 | 339.5 | 338.2 | 123 | 138 | 20.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P | 22.5 | 46 | 34.3 | 26.5 | 61.3 | 23.5 | 31 | 46.1 | 220.7 | 311.9 | 1063.1 | 152.6 | 73.4 | 182.4 | 141.1 | 118 | 207.9 | 221.3 | 278.5 | 235.5 | 419 | 182.3 | 82.2 | 683.6 | 240.7 | 92.7 | 39.6 | 76.6 | 180.5 | 348.9 | 247.1 | 456.3 | 52.8 | 34.4 | 14.7 | 44.8 | 13.1 | 11.5 | 173.6 | 278.3 | 240 | 1075.1 | 1668.2 | 313.2 | 1156.4 | 2378.2 | 2370.4 | 2097.1 | 2561.2 | 1519.5 | 924.6 | 644.5 | 1286.7 | 588.6 | 354.4 | 204.3 | 141 | 121 | 88 | 78.4 | 24.7 | 291 | 64.8 | 61.1 | 23.3 | 162.1 | 32.1 | 10.5 | 7.5 | 13 | 54 | 17.5 | 15.8 | 53 | 4.9 | 1.8 | 1.1 | 0 | 0 | 1.4 | 1.1 | 2.3 | 2 | 0.9 | 3.2 | 0.2 | 0.7 | 0 | 0.4 | 0.8 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B | 1 | 4.8 | 53.4 | 46.2 | 6.2 | 2.8 | 2.6 | 20.2 | 18.4 | 3.7 | 3 | 7.6 | 0 | 0 | 1.6 | 2 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N | 0 | 0 | 0 | 0 | 1269.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1269.9 | 0 | 0 | 1215 | 0 | 0 | 3595.5 | 2569.3 | 6424.3 | 8023.4 | 9893.6 | 8762.5 | 7025.7 | 2346 | 1220.5 | 4499 | 1922.2 | 924 | 2113 | 6107.4 | 3898.7 | 6057.5 | 8698.1 | 2494.2 | 5198.1 | 2462.9 | 2266.3 | 641.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H | 154.6 | 12.2 | 135.2 | 207.2 | 377.1 | 141.2 | 177.9 | 428.5 | 350.1 | 165 | 20.9 | 26.1 | 42.7 | 21.6 | 21.4 | 30.4 | 79.2 | 82.5 | 16.3 | 138.2 | 3.3 | 180.3 | 2.9 | 60.6 | 60.7 | 123.2 | 276.9 | 147.1 | 197.8 | 166 | 455.6 | 545 | 534.6 | 255.5 | 652.8 | 1223.4 | 594.3 | 700.8 | 617.9 | 262.6 | 1216.1 | 1738.5 | 1996.6 | 518.8 | 1615.3 | 1953.5 | 573.1 | 1083.8 | 200.8 | 1158.7 | 855.7 | 1154.7 | 1923.2 | 2367.8 | 1461.1 | 1572.2 | 2203.7 | 2058.2 | 2255.7 | 3144.3 | 1414.8 | 1696.4 | 2787 | 1317.2 | 1201.9 | 1697 | 1282.9 | 1825.5 | 1646.2 | 1318.3 | 1142 | 1258.2 | 784.3 | 169.4 | 46.1 | 384.1 | 1011.2 | 1098.7 | 1096.9 | 748.3 | 440.3 | 501 | 585 | 353.2 | 723.4 | 70.7 | 37.6 | 35 | 225.8 | 582 | 814.7 | 201.5 | 906.3 | 410.1 | 273.1 | 691.4 | 517.3 | 390.1 | 166.1 | 229 | 102.5 | 233.8 | 140.9 | 251.1 | 166.7 | 260.4 | 113.3 | 309.9 | 139.4 | 120.8 | 120.9 | 32.7 | 45.9 | 99.8 | 26.9 | 35.9 | 22.1 | 38.8 | 1.4 | 3.5 | 2.8 | 3.2 | 6 | 3.2 | 0.8 | 3.4 | 3.4
W | 14444.5 | 9328.2 | 6872.4 | 6043.5 | 8755.4 | 8240.5 | 4937.7 | 852.5 | 13235.2 | 6822.5 | 4624.5 | 9961.5 | 8557.1 | 5294.1 | 2633.4 | 2144.8 | 374.8 | 1637.3 | 657.6 | 1505.2 | 33.7 | 532.6 | 168.9 | 19.8 | 0 | 0 | 60 | 4.2 | 6.5 | 0 | 90.5 | 88.5 | 17.4 | 27.1 | 37 | 16.3 | 134.6 | 31 | 3.5 | 17.3 | 0 | 0 | 0 | 0 | 0 | 16.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SPV | 10387.8 | 5503.8 | 4831.9 | 5169.5 | 8084.3 | 3393 | 3382.8 | 2672.2 | 1571.7 | 748.3 | 212.4 | 90.8 | 26.4 | 16.8 | 1.4 | 0 | 0 | 0 | 3 | 3.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STH | 0 | 0 | 0 | 0 | 0 | 125 | 405 | 797.8 | 0 | 0 | 0 | 0 | 0 | 75.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G | 47.6 | 26 | 55.6 | 37 | 0 | 73 | 22.5 | 91 | 206 | 3.6 | 23.5 | 214.7 | 64 | 47.6 | 52.5 | 30 | 0 | 24 | 6.5 | 0 | 69.8 | 0 | 0 | 0 | 47.5 | 0 | 0 | 48 | 71.4 | 0 | 50 | 256.4 | 278.7 | 32.2 | 57.4 | 344.6 | 217.1 | 306 | 128 | 0 | 251 | 110 | 0 | 0 | 0 | 110 | 0 | 0 | 110 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Generation (MWh)
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082 | 2083 | 2084 | 2085 | 2086 | 2087 | 2088 | 2089 | 2090 | 2091 | 2092 | 2093 | 2094 | 2095 | 2096 | 2097 | 2098 | 2099 | 2100 | 2101 | 2102 | 2103 | 2104 | 2105 | 2106 | 2107 | 2108 | 2109 | 2110
Demand | 4061202881 | 4087226318 | 4176259766 | 4229464355 | 4278296387 | 4336319336 | 4366855469 | 4392780762 | 4418811523 | 4448598145 | 4475012207 | 4511879883 | 4541201660 | 4574926270 | 4610452148 | 4649956543 | 4692053223 | 4735790039 | 4782095215 | 4828448242 | 4871091309 | 4919213867 | 4972240234 | 5030078613 | 5085935547 | 5141791016 | 5199989258 | 5259506348 | 5321525879 | 5388478516 | 5457644531 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377 | 5504858613.8377
Capacity Factor | nnnn
AGE
PC(!) | 0.37683 | 0.49707 | 0.53597 | 0.51929 | 0.49435 | 0.57974 | 0.61315 | 0.62011 | 0.63752 | 0.65216 | 0.65695 | 0.65312 | 0.65263 | 0.65815 | 0.66002 | 0.658 | 0.65687 | 0.65448 | 0.6554 | 0.65476 | 0.6529 | 0.65114 | 0.65156 | 0.64448 | 0.63943 | 0.64133 | 0.6388 | 0.64088 | 0.64396 | 0.64646 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447 | 0.6447
NGGT(!) | 0.13975 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125
NGGC(!) | 0.56845 | 0.55229 | 0.52876 | 0.54695 | 0.5347 | 0.53408 | 0.52599 | 0.5202 | 0.50811 | 0.50283 | 0.49342 | 0.49009 | 0.48471 | 0.48068 | 0.47724 | 0.46784 | 0.46596 | 0.46676 | 0.47104 | 0.47581 | 0.47755 | 0.47751 | 0.48176 | 0.48414 | 0.48605 | 0.48741 | 0.4863 | 0.48434 | 0.48348 | 0.48043 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024 | 0.48024
P(!) | 0.27236 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125
B | 0.27279 | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | 63.5% | [18 empty] | Biopower - Dedicated Moderate
N | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | 93.7% | [18 empty] | Nuclear - AP1000 Moderate
H | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | 34.32% | [18 empty] | Hydropower - NPD 1 Moderate
W | 43.7% | 44.04% | 44.37% | 44.71% | 45.04% | 45.38% | 45.72% | 46.05% | 46.39% | 46.72% | 47.06% | 47.12% | 47.18% | 47.24% | 47.3% | 47.35% | 47.41% | 47.47% | 47.53% | 47.59% | 47.65% | 47.71% | 47.77% | 47.83% | 47.88% | 47.94% | 48% | 48.06% | 48.12% | 48.18% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | 48.24% | [18 empty] | Land-Based Wind - Class 4 Moderate
SPV | 24.37% | 24.63% | 24.89% | 25.15% | 25.41% | 25.67% | 25.93% | 26.19% | 26.45% | 26.71% | 26.97% | 27.07% | 27.17% | 27.26% | 27.36% | 27.46% | 27.56% | 27.65% | 27.75% | 27.85% | 27.95% | 28.05% | 28.14% | 28.24% | 28.34% | 28.44% | 28.53% | 28.63% | 28.73% | 28.83% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | 28.92% | [18 empty] | Utility PV - class 5 Moderate
STH | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | [18 empty] | CSP - Class 2 Moderate
G | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | [18 empty] | Geothermal - Hydro / Flash Moderate
GENYRONL | 2020 | 2019 | 2018 | 2017 | 2016 | 2015 | 2014 | 2013 | 2012 | 2011 | 2010 | 2009 | 2008 | 2007 | 2006 | 2005 | 2004 | 2003 | 2002 | 2001 | 2000 | 1999 | 1998 | 1997 | 1996 | 1995 | 1994 | 1993 | 1992 | 1991 | 1990 | 1989 | 1988 | 1987 | 1986 | 1985 | 1984 | 1983 | 1982 | 1981 | 1980 | 1979 | 1978 | 1977 | 1976 | 1975 | 1974 | 1973 | 1972 | 1971 | 1970 | 1969 | 1968 | 1967 | 1966 | 1965 | 1964 | 1963 | 1962 | 1961 | 1960 | 1959 | 1958 | 1957 | 1956 | 1955 | 1954 | 1953 | 1952 | 1951 | 1950 | 1949 | 1948 | 1947 | 1946 | 1945 | 1944 | 1943 | 1942 | 1941 | 1940 | 1939 | 1938 | 1937 | 1936 | 1935 | 1934 | 1933 | 1932 | 1931 | 1930 | 1929 | 1928 | 1927 | 1926 | 1925 | 1924 | 1923 | 1922 | 1921 | 1920 | 1919 | 1918 | 1917 | 1916 | 1915 | 1914 | 1913 | 1912 | 1911 | 1910 | 1909 | 1908 | 1907 | 1906 | 1905 | 1904 | 1903 | 1902 | 1901 | 1900 | 1899 | 1898 | 1896 | 1893 | 1891
PC_WA_HR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.3365 | 10.137 | 9.7812 | 10.1093 | 11.0472 | 10.6133 | 10.7838 | 12.3852 | 9.9235 | 0 | 12.5335 | 0 | 5.6018 | 46.6959 | 12.4903 | 20.3934 | 49.0074 | 10.9955 | 12.0441 | 11.0436 | 0 | 9.4921 | 10.4633 | 9.678 | 11.1927 | 11.5865 | 10.4407 | 11.2067 | 11.1054 | 10.8636 | 11.3421 | 11.3521 | 11.4143 | 10.6726 | 10.8625 | 11.0102 | 10.6902 | 11.392 | 10.8948 | 10.7414 | 10.4885 | 9.8121 | 10.5954 | 10.5977 | 10.9552 | 10.629 | 11.0158 | 11.234 | 11.2015 | 11.2495 | 17.1534 | 12.8064 | 13.8392 | 12.0227 | 13.5504 | 14.8548 | 18.116 | 11.3054 | 11.4284 | 13.0101 | 11.5261 | 20.3971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CT_WA_HR | 14.5285 | 10.1399 | 11.1692 | 22.5972 | 10.7945 | 10.5576 | 10.0787 | 9.4592 | 10.1293 | 10.2339 | 11.1748 | 9.3043 | 12.4122 | 12.254 | 10.5006 | 11.628 | 9.1972 | 11.3451 | 12.1557 | 10.5854 | 12.7507 | 9.97 | 11.8235 | 17.6586 | 19.1035 | 12.9283 | 11.4653 | 17.2129 | 18.5163 | 12.8089 | 12.7508 | 13.0238 | 11.646 | 11.9469 | 15.1967 | 12.5259 | 13.0086 | 7.3178 | 15.9973 | 14.8701 | 16.7059 | 28.115 | 11.3761 | 18.1792 | 16.2671 | 5.7907 | 29.8334 | 26.0729 | 21.092 | 72.93 | 28.6171 | 84.0729 | 23.0327 | 68.3199 | 112.458 | 58.797 | 19.8077 | 19.6581 | 11.9042 | 14.9023 | 11.1983 | 11.3438 | 15.1333 | 28.3121 | 10.9291 | 10.7689 | 11.5843 | 11.952 | 11.9937 | 13.7164 | 13.249 | 11.1778 | 36.2194 | 10.3096 | 13.2487 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CC_WA_HR | 10.6698 | 10.1685 | 9.2693 | 10.8472 | 5.415 | 10.9886 | 8.2915 | 9.072 | 11.6363 | 10.3252 | 10.8826 | 10.8479 | 11.6816 | 10.1539 | 11.726 | 11.2124 | 11.6172 | 11.3213 | 11.5063 | 11.1805 | 11.3325 | 12.202 | 11.4844 | 11.3963 | 12.1042 | 12.0901 | 10.0077 | 11.8721 | 13.4844 | 12.7475 | 10.0758 | 11.2248 | 12.1263 | 13.5962 | 14.0006 | 14.28 | 0 | 0 | 11.5724 | 13.6589 | 22.5645 | 11.1092 | 12.0061 | 11.364 | 9.7635 | 12.98 | 11.4525 | 9.8096 | 11.1534 | 9.8428 | 12.8469 | 11.1444 | 10.9009 | 10.3924 | 10.573 | 9.4466 | 8.4536 | 11.0645 | 9.953 | 13.9114 | 13.0308 | 11.2265 | 11.2797 | 15.2304 | 11.137 | 39.5327 | 16.9682 | 14.8779 | 25.153 | 8.059 | 0 | 17.3839 | 382.4254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.0725 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P_WA_HR | 10.199 | 9.5462 | 11.294 | 9.8495 | 10.1836 | 9.4789 | 10.2507 | 10.3153 | 9.9987 | 12.8446 | 5.865 | 8.9495 | 10.512 | 10.7255 | 3.3111 | 10.1354 | 11.842 | 10.8853 | 9.737 | 10.8709 | 12.5821 | 12.2673 | 11.9549 | 3.8011 | 10.1634 | 8.6351 | 10.468 | 7.7653 | 10.4445 | 7.2039 | 9.9774 | 11.1755 | 12.9426 | 10.1663 | 10.6781 | 10.0903 | 10.1858 | 14.2369 | 19.3925 | 10.4757 | 12.2376 | 15.6824 | 11.3512 | 12.8101 | 10.28 | 11.3892 | 9.3353 | 13.4204 | 10.1712 | 18.8219 | 11.5421 | 23.5108 | 10.5804 | 4.1553 | 11.55 | 13.6473 | 11.2679 | 11.1174 | 22.6538 | 12.0001 | 15.9865 | 12.4577 | 10.9243 | 7.0878 | 13.164 | 14.4154 | 14.9248 | 10.9253 | 10.4528 | 9.9081 | 16.5331 | 17.3797 | 17.2297 | 12.1017 | 11.1835 | 7.3029 | 11.9651 | 0 | 0 | 11.2366 | 10.8794 | 10.9458 | 0 | 13.2493 | 12.4795 | 18 | 12.2467 | 0 | 0 | 11.9894 | 13.9923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.5077 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B_WA_HR | 13.669 | 9.9364 | 11.4597 | 10.053 | 12.174 | 11.2667 | 10.0121 | 15.9135 | 11.0341 | 11.2962 | 11.5056 | 10.8152 | 0 | 0 | 9.1834 | 10.5789 | 0 | 0 | 0 | 0 | 16.2606 | 0 | 0 | 62.5696 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.2659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N_WA_HR | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443
H_WA_HR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W_WA_HR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SPV_WA_HR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STH_WA_HR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G_WA_HR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Plant Heat Rate (MMBTU/MWh) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
PC | 8.47 | 8.47 | 8.47 | 8.47 | 8.47 | 8.47 | 8.39 | 8.3 | 8.21 | 8.13 | 8.04 | 7.95 | 7.87 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78 | 7.78
CT | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72 | 9.72
CC | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36 | 6.36
P | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713 | 10.713
B | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5
N | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443 | 10.443
H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SPV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## costAttr
CAPITAL COST ($/kW) | [31 empty] | NOTES
YEAR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
PC | 2568 | 2568 | 2396 | 2381 | 2366 | 2337 | 2309 | 2281 | 2253 | 2225 | 2198 | 2170 | 2143 | 2116 | 2102 | 2087 | 2073 | 2059 | 2044 | 2030 | 2015 | 2001 | 1987 | 1972 | 1958 | 1943 | 1929 | 1915 | 1900 | 1886 | 1871 | Coal (moderate)
CT | 841 | 841 | 785 | 778 | 760 | 746 | 738 | 728 | 722 | 716 | 712 | 707 | 703 | 699 | 696 | 692 | 688 | 684 | 681 | 677 | 673 | 669 | 666 | 662 | 658 | 654 | 651 | 647 | 644 | 643 | 641 | NG F-Frame CT (Moderate)
CC | 947 | 947 | 883 | 878 | 866 | 858 | 852 | 845 | 840 | 835 | 832 | 827 | 824 | 820 | 817 | 813 | 810 | 806 | 803 | 799 | 796 | 793 | 789 | 786 | 782 | 779 | 775 | 772 | 768 | 766 | 764 | NG F-Frame CC (Moderate)
B | 4083.4127 | 4057.5393 | 4031.6658 | 4005.7923 | 3980.1799 | 3954.0076 | 3928.4031 | 3902.7968 | 3877.1917 | 3851.5853 | 3825.9786 | 3800.3715 | 3774.7644 | 3749.1601 | 3723.5509 | 3697.945 | 3672.3386 | 3646.7342 | 3621.1277 | 3595.5217 | 3569.9163 | 3544.3073 | 3518.701 | 3493.0946 | 3467.489 | 3441.8856 | 3416.279 | 3390.6723 | 3365.0644 | 3339.4584 | 3313.8523 | Biopower Dedicated Moderate
P | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342 | 1342
N | 6343 | 6303 | 6264 | 6224 | 6040 | 6001 | 5962 | 5923 | 5884 | 5844 | 5805 | 5766 | 5727 | 5688 | 5649 | 5609 | 5570 | 5531 | 5492 | 5453 | 5414 | 5374 | 5335 | 5296 | 5257 | 5218 | 5179 | 5140 | 5100 | 5061 | 5022 | NUCLEAR API-1000
H | 2462.3946 | 2462.3946 | 2462.3946 | 2462.3946 | 2462.3946 | 2462.3946 | 2437.7706 | 2413.1466 | 2388.5227 | 2363.8987 | 2339.2747 | 2318.0981 | 2296.9216 | 2275.745 | 2254.5684 | 2233.3918 | 2212.2152 | 2191.0386 | 2169.862 | 2148.6855 | 2127.5089 | 2127.5089 | 2127.5089 | 2127.5089 | 2127.5089 | 2127.5089 | 2127.5089 | 2127.5089 | 2127.5089 | 2127.5089 | 2127.5089 | Hydropower - NPD 1 Advanced
W | 1405.1658 | 1355.9562 | 1306.7465 | 1257.5369 | 1208.3273 | 1159.1176 | 1109.908 | 1060.6984 | 1011.4887 | 962.2791 | 913.0694 | 903.9387 | 894.8081 | 885.6774 | 876.5467 | 867.416 | 858.2853 | 849.1546 | 840.0239 | 830.8932 | 821.7625 | 812.6318 | 803.5011 | 794.3704 | 785.2397 | 776.109 | 766.9783 | 757.8476 | 748.7169 | 739.5862 | 730.4556 | Land based Class 1 (Moderate)
SPV | 1302.7736 | 1139.2 | 1094.2145 | 1049.2291 | 1004.2436 | 959.2582 | 914.2727 | 869.2872 | 824.3018 | 779.3163 | 734.3309 | 727.7874 | 721.2438 | 714.7003 | 708.1568 | 701.6133 | 695.0698 | 688.5263 | 681.9827 | 675.4392 | 668.8957 | 662.3522 | 655.8087 | 649.2652 | 642.7216 | 636.1781 | 629.6346 | 623.0911 | 616.5476 | 610.0041 | 603.4605 | Utility PV - Class 1 Moderate
STH | 6242.1027 | 6035.5924 | 5829.0822 | 5622.5719 | 5416.0616 | 5209.5513 | 5003.0411 | 4796.5308 | 4590.0205 | 4383.5103 | 4177 | 4155.45 | 4133.9 | 4112.35 | 4090.8 | 4069.25 | 4047.7 | 4026.15 | 4004.6 | 3983.05 | 3961.5 | 3939.95 | 3918.4 | 3896.85 | 3875.3 | 3853.75 | 3832.2 | 3810.65 | 3789.1 | 3767.55 | 3746 | CSP - Class 2 Moderate
G | 4559.2782 | 4493.6041 | 4427.93 | 4362.2559 | 4296.5817 | 4230.9076 | 4165.2335 | 4099.5594 | 4033.8853 | 3968.2111 | 3902.537 | 3883.0243 | 3863.6092 | 3844.2912 | 3825.0697 | 3805.9444 | 3786.9147 | 3767.9801 | 3749.1402 | 3730.3945 | 3711.7425 | 3693.1838 | 3674.7179 | 3656.3443 | 3638.0626 | 3619.8723 | 3601.7729 | 3583.764 | 3565.8452 | 3548.016 | 3530.2759 | Geothermal - Hydro / Flash Moderate
[32 empty] | KEEP VALUE OF 2050! | IMPLEMENT "MIRROR IMAGE" OF TERMINAL COST
Fixed O and M ($/kWyr) | [31 empty] | OR EXTRAPOLATE | REMOVE AGE
AGE
PC | 74 | 74 | 74 | 74 | 74 | 73 | 73 | 72 | 72 | 72 | 71 | 71 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
CT(with NG) | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21
CC | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
P(internal combustion with petroleum) | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | 6.9 | beware these are all the same
B | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85 | 150.85
N | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96 | 145.96
H | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 64.406 | 61.8297 | 61.8297 | 61.8297 | 61.8297 | 61.8297 | 61.8297 | 61.8297 | 61.8297 | 61.8297 | 61.8297 | 61.8297
W | 43 | 42.595 | 42.19 | 41.785 | 41.38 | 40.975 | 40.57 | 40.165 | 39.76 | 39.355 | 38.95 | 38.6579 | 38.3658 | 38.0736 | 37.7815 | 37.4894 | 37.1973 | 36.9051 | 36.613 | 36.3209 | 36.0288 | 35.7366 | 35.4445 | 35.1524 | 34.8603 | 34.5681 | 34.276 | 33.9839 | 33.6917 | 33.3996 | 33.1075
SPV | 22.6237 | 20.5568 | 19.9517 | 19.3544 | 18.759 | 18.1654 | 17.5734 | 16.9831 | 16.3945 | 15.8073 | 15.2216 | 15.1209 | 15.0204 | 14.9202 | 14.8203 | 14.7206 | 14.6212 | 14.522 | 14.423 | 14.3242 | 14.2257 | 14.1274 | 14.0294 | 13.9315 | 13.8339 | 13.7364 | 13.6392 | 13.5422 | 13.4454 | 13.3488 | 13.2523
STH | 66 | 65.0622 | 64.1244 | 63.1867 | 62.2489 | 61.3111 | 60.3733 | 59.4356 | 58.4978 | 57.56 | 56.6222 | 56.5937 | 56.5652 | 56.5367 | 56.5082 | 56.4797 | 56.4512 | 56.4227 | 56.3942 | 56.3657 | 56.3372 | 56.3087 | 56.2802 | 56.2517 | 56.2232 | 56.1947 | 56.1662 | 56.1377 | 56.1092 | 56.0807 | 56.0522
G | 107.3894 | 106.5829 | 105.7763 | 104.9698 | 104.1633 | 103.3568 | 102.5503 | 101.7438 | 100.9373 | 100.1307 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242 | 99.3242
Variable O and M ($/MWh)
AGE
PC | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
CT | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
CC | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
P | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | 5.85 | beware these are all the same
B | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8 | 5.8
N | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84 | 2.84
H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SPV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STH | 3.5 | 3.5 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91 | 2.91
G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Wholesale |  | ¢/kWh
| 7.4927 | 7.7806 | 7.9707 | 8.1891 | 8.3134 | 8.5632 | 8.7378 | 8.9205 | 9.0869 | 9.1856 | 9.3325 | 9.5021 | 9.7464 | 9.9939 | 10.2298 | 10.4798 | 10.735 | 11.0274 | 11.4048 | 11.8306 | 12.2838 | 12.5663 | 12.8554 | 13.151 | 13.4535 | 13.7629 | 14.0795 | 14.4033 | 14.7346 | 15.0735 | 15.4202 | Electricity (cents per kilowatthour) Total Energy: Nominal Prices: Electricity:Reference case 1-AEO2022.58.ref2022-d011222a nom cents/kWh
| 7.4927 | 7.7806 | 7.9707 | 8.1891 | 8.3134 | 8.5632 | 8.7378 | 8.9205 | 9.0869 | 9.1856 | 9.3325 | 9.5021 | 9.7464 | 9.9939 | 10.2298 | 10.4798 | 10.735 | 11.0274 | 11.4048 | 11.8306 | 12.2838 | 12.5663 | 12.8554 | 13.151 | 13.4535 | 13.7629 | 14.0795 | 14.4033 | 14.7346 | 15.0735 | 15.4202
Fuel Prices ($/mmBtu)
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | NOTES
PC | 1.9633 | 2.0121 | 2.0682 | 2.02 | 2.0346 | 2.0368 | 2.0672 | 2.1064 | 2.1347 | 2.1927 | 2.2349 | 2.2953 | 2.3353 | 2.3811 | 2.4342 | 2.4771 | 2.5268 | 2.5771 | 2.6477 | 2.692 | 2.7486 | 2.8049 | 2.8664 | 2.9322 | 2.9815 | 3.0507 | 3.1312 | 3.2109 | 3.2934 | 3.3895 | 3.491 | Steam Coal Energy Prices: Electric Power: Steam Coal: Reference case nom $/MMBtu
CT | 2.4478 | 3.6241 | 4.0439 | 4.0347 | 3.9833 | 4.3059 | 4.5855 | 4.7883 | 4.905 | 5.0206 | 5.1483 | 5.2748 | 5.422 | 5.5863 | 5.6899 | 5.7356 | 5.8039 | 5.8542 | 5.9358 | 6.0396 | 6.1087 | 6.1455 | 6.238 | 6.2652 | 6.3885 | 6.4254 | 6.5072 | 6.5879 | 6.6762 | 6.6994 | 6.8193 | Natural Gas Energy Prices: Electric Power: Natural Gas: Reference case nom $/MMBtu
CC | 2.4478 | 3.6241 | 4.0439 | 4.0347 | 3.9833 | 4.3059 | 4.5855 | 4.7883 | 4.905 | 5.0206 | 5.1483 | 5.2748 | 5.422 | 5.5863 | 5.6899 | 5.7356 | 5.8039 | 5.8542 | 5.9358 | 6.0396 | 6.1087 | 6.1455 | 6.238 | 6.2652 | 6.3885 | 6.4254 | 6.5072 | 6.5879 | 6.6762 | 6.6994 | 6.8193 | Natural Gas Energy Prices: Electric Power: Natural Gas: Reference case nom $/MMBtu
P | 8.2915 | 8.8553 | 9.8835 | 11.1752 | 12.2695 | 13.0702 | 13.7773 | 14.3036 | 14.7048 | 15.0274 | 15.3583 | 15.8094 | 16.1178 | 16.5109 | 16.7607 | 16.8786 | 17.1275 | 17.235 | 17.4179 | 17.5611 | 17.9808 | 17.8588 | 17.7713 | 18.0434 | 18.174 | 18.0341 | 18.3557 | 18.5028 | 18.5359 | 18.7394 | 18.9057 | Residual Fuel Oil Energy Prices: Electric Power: Residual Fuel Oil: Low oil and gas supply 2020 $/MMBtu
B | 2.64 | 3.6151 | 3.5184 | 3.5664 | 3.6135 | 3.6598 | 3.7052 | 3.7499 | 3.7938 | 3.8369 | 3.8794 | 3.9211 | 3.9622 | 4.0026 | 4.0424 | 4.0816 | 4.1202 | 4.1583 | 4.1958 | 4.2327 | 4.2691 | 4.305 | 4.3404 | 4.3754 | 4.4098 | 4.4438 | 4.4774 | 4.5105 | 4.5432 | 4.5755 | 4.6074 | Biomass nom $/MMBtu
N | 0.68612 | 0.68713 | 0.68814 | 0.69015 | 0.69115 | 0.69317 | 0.69417 | 0.69618 | 0.69719 | 0.6992 | 0.70121 | 0.70222 | 0.70423 | 0.70624 | 0.70725 | 0.70926 | 0.71127 | 0.71228 | 0.71429 | 0.7163 | 0.71832 | 0.72033 | 0.72234 | 0.72435 | 0.72636 | 0.72838 | 0.73039 | 0.7324 | 0.73441 | 0.73642 | 0.73844 | Uranium Energy Prices: Electric Power: Uranium: Reference case nom $/MMBtu
H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SPV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Plant General Characteristics
| Size (kW) | Size (MW) |  | Decomission cost $/MW
Pulverized Coal | 606000 | 606 | 6060000 | 10000
Natural Gas (GT) | 211000 | 211 | 6060000 | 28720.3791
Natural Gas (CC) | 580000 | 580 | 6060000 | 10448.2759
Petroleum | 85000 | 85 | 6060000 | 71294.1176
Biomass | 50000 | 50 | 6060000 | 121200
Nuclear | 1125000 | 1125 | 300000000 | 266666.6667
Hydroelectric | 500000 | 500 | 8000000 | 16000
On-shore wind | 100000 | 100 | 5593333.3333 | 55933.3333
Solar PV | 100000 | 100 | 440000 | 4400
Solar Thermal | 200000 | 200 | 440000 | 2200
Geothermal | 50000 | 50 | 6060000 | 121200
Just remove them

## invrAttr
number of techs | 11
Horizon | 31
Loan term | 20 | years
Risk | 3%
Return on Equity/Investment | 12%
Tax | 5%
Total interest rate | 20%
Interest rate annuity factor | 0.20536 | (to be multiplied by the total capital cost to get annuity)
Name | Size (MW) | Service Life (years) | Carbon Intensity (kg CO2/mmBtu) | Lower Bound on Capital Costs | Upper Bound on Capital Costs | kind_z | kind_x | fuelbased | co2based | baseLoad | Ninput
Pulverized Coal | 606 | 60 | 97.5224 | 0% | 35% | 5 | 3 | TRUE | TRUE | FALSE | 68
Natural Gas (GT) | 211 | 40 | 53.0703 | -25% | 25% | 1 | 1 | TRUE | TRUE | FALSE | 77
Natural Gas (CC) | 580 | 60 | 53.0703 | 0% | 25% | 2 | 2 | TRUE | TRUE | FALSE | 83
Petroleum | 85 | 40 | 73.1644 | -25% | 25% | 0 | 1 | TRUE | TRUE | FALSE | 106
Biomass | 50 | 30 | 24.494 | -25% | 50% | 0 | 1 | TRUE | TRUE | FALSE | 34
Nuclear | 1125 | 60 | 0 | -10% | 30% | 0 | 1 | TRUE | FALSE | TRUE | 52
Hydroelectric | 500 | 60 | 0 | 0% | 35% | 0 | 1 | FALSE | FALSE | TRUE | 126
On-shore wind | 100 | 30 | 0 | 0% | 25% | 0 | 1 | FALSE | FALSE | FALSE | 46
Solar PV | 100 | 30 | 0 | 0% | 0% | 0 | 1 | FALSE | FALSE | FALSE | 20
Solar Thermal | 200 | 30 | 0 | -35% | 15% | 0 | 1 | FALSE | FALSE | FALSE | 32
Geothermal | 50 | 40 | 0 | 0% | 0% | 0 | 1 | FALSE | FALSE | FALSE | 50
discount rate | 0.07 | 0.07
heat rate increase | 0.001 | <-Changes?
loan period | 20
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
| Description | Lead Time | service Life increase | KAPITAL MOD |  | O&M VAR MOD |  | O&M FIX MOD |  | HEAT MOD |  | CO MOD |  | FUEL MOD |  | USE BHR | HAS CcsHrRed | CcsHrRed | nothing
Retrofits |  |  |  | multiplier | basefuel | multiplier | basefuel | multiplier | basefuel | multiplier | basefuel | multiplier | basefuel | multiplier | basefuel | bool | bool | %-points
i=0 (PC) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | 90%CC | 2 | 0 | 0.59848 | -9999 | 1.5733 | -9999 | 2.1301 | -9999 | 1.4479 | -9999 | 0.1 | -9999 | 1 | -9999 | TRUE | TRUE | 8.5695 | 0
kind=1 | HeatRate improv | 1 | 0 | 0.12769 | -9999 | 1 | -9999 | 1 | -9999 | 0.96 | -9999 | 1 | -9999 | 1 | -9999 | TRUE | FALSE
kind=2 | to NG | 2 | 0 | 0.081776 | -9999 | 1 | 2 | 1 | 2 | 1.05 | 2 | 1 | 2 | 1 | 2 | FALSE | FALSE
kind=3 | to Bio | 2 | 0 | 0.23131 | -9999 | 1 | 4 | 1 | 4 | 1 | 4 | 1 | 4 | 1 | 4 | FALSE | FALSE
kind=4 | 30%CC | 0 | 0 | 0.23993 | -9999 | 2.44 | -9999 | 1.4672 | -9999 | 1.1288 | -9999 | 0.7 | -9999 | 1 | -9999 | TRUE | TRUE | 8.5695 | 0
i=1 (CT) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | HeatRate improv | 2 | 0 | 0.37988 | -9999 | 1 | -9999 | 1 | -9999 | 0.95 | -9999 | 1 | -9999 | 1 | -9999 | TRUE | FALSE
i=2 (CC) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | 90%CC | 4 | 0 | 1.2155 | -9999 | 2.5344 | -9999 | 1.9989 | -9999 | 1.12 | -9999 | 0.1 | -9999 | 1 | -9999 | TRUE | TRUE | 5.359 | 0
kind=1 | Heat rate improvement retrofits | 2 | 0 | 0.37988 | -9999 | 1 | -9999 | 1 | -9999 | 0.95 | -9999 | 1 | -9999 | 1 | -9999 | TRUE | FALSE
i=3 (P) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
i=4 (B) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
i=5 (N) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
i=6 (H) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
i=7 (W) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
i=8 (SPV) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
i=9 (STH) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
i=10 (G) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
New plants | Description | Leading Time | service Life increase | KAPITAL MOD |  | O&M VAR MOD |  | O&M FIX MOD |  | HEAT MOD |  | CO MOD |  | FUEL MOD |  | USE BHR | CCS HEAT | CCS CAPT FRAC | CCHEAT(mmBTU/tCO2)
|  |  |  | multiplier | basefuel | multiplier | basefuel | multiplier | basefuel | multiplier | basefuel | multiplier | basefuel | multiplier | basefuel | bool
i=0 (PC) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | same | 4 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | FALSE | FALSE
kind=1 | 90%CC | 4 | 0.01 | 1.8022 | -9999 | 1.875 | -9999 | 1.6892 | -9999 | 1.1 | -9999 | 0.1 | -9999 | 1 | -9999 | FALSE | FALSE
kind=2 | 30%CC | 4 | 0.01 | 1.2399 | -9999 | 1.5733 | -9999 | 1.3381 | -9999 | 1.1288 | -9999 | 0.7 | -9999 | 1 | -9999 | FALSE | FALSE
i=1 (CT) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | same | 2 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | FALSE | FALSE
i=2 (CC) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | FALSE
kind=0 | same | 3 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | FALSE | FALSE
kind=1 | 90%CC | 3 | 0.01 | 2.5333 | -9999 | 3 | -9999 | 2.3929 | -9999 | 1.1 | -9999 | 0.1 | -9999 | 1 | -9999 | FALSE | FALSE
i=3 (P) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | same | 2 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | FALSE | FALSE
i=4 (B) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | same | 4 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | FALSE | FALSE
i=5 (N) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | same | 6 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | FALSE | FALSE
i=6 (H) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | same | 4 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | FALSE | FALSE
i=7 (W) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | same | 3 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | FALSE | FALSE
i=8 (SPV) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | same | 2 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | FALSE | FALSE
i=9 (STH) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | same | 3 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | FALSE | FALSE
i=10 (G) |  | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999 | -9999
kind=0 | same | 4 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | 1 | -9999 | FALSE | FALSE